## Sheet1
LESSON PLAN
Name of the Faculty |  | : SH. ANAND YADAV
Discipline |  | : ELECTRICAL ENGINEERING
Semester |  | : 6th
Subject |  | : EECM
Lesson Plan Duration |  | : 15 WEEKS(15/02/2024 to june2024)
Work Load (Lecture/ Practical) per week (in hours) |  | : Theory- 05
Week | Theory
| Lecture Day | Topic
1st | 1st | (a) Introduction to the Subject; (b) Introduction of the nature of the examination and marks distribution of different topics
| 2nd | Basic definitions- Lux, lumen and illumination space to height ratio
| 3rd | Types of different lamps and their features
| 4th | Energy efficient practices in lighting
| 5th | Tips for energy saving in building - New Building, Existing Building
2nd | 1st | Laws of Illumination
| 2nd | Calculation of illumination at different points, Main requirements for proper lighting
| 3rd | Macro level approach at design stage
| 4th | Test of Chapter 01
| 5th | Introduction to energy management, energy conservation, energy efficiency and its need
3rd | 1st | Salient features of Energy Conservation Act 2001 & The Energy Conservation (Amendment) Act, 2010 and its importance
| 2nd | Standards and Labeling - Concept of star rating and its importance, Types of product available for star rating
| 3rd | Test of Chapter 02
| 4th | Types and methodology: Energy Audit
| 5th | Energy auditing reporting format
4th | 1st | Energy audit instruments
| 2nd | Test of Chapter 03
| 3rd | Types of electrical supply system
| 4th | Single line diagram
| 5th | Transformer loading
5th | 1st | Tips for energy savings in transformers
| 2nd | Motor Loading
| 3rd | Variation in efficiency and power factor with loading
| 4th | Tips for energy savings in motors
| 5th | Need for energy efficient motors
6th | 1st | Initial cost versus like cycle cost
| 2nd | Cost analysis on life cycle basis
| 3rd | Various constructional features of EEMs
| 4th | EEM as compared to standard motors
| 5th | Test of Chapter 4
7th | 1st | Understanding Electricity Bill:Tariff structure
| 2nd | Components of power (kW, kVA and kVAR) and power factor
| 3rd | Concept of sanctioned load, maximum demand, contract demand and monthly minimum charges (MMC)
| 4th | Introduction to pump and its application
| 5th | Efficient pumping system operation
8th | 1st | Energy efficiency in agriculture pumps
| 2nd | Tips for energy saving in pumps
| 3rd | Types of air compressor and its applications
| 4th | Leakage test
| 5th | Energy saving opportunities in compressors
9th | 1st | Introduction:Energy Conservation in HVAC and Refrigeration System
| 2nd | Concept of Energy Efficiency Ratio (EER)
| 3rd | Energy saving opportunities in Heating, Ventilation and Air-conditioning (HVAC) and Refrigeration Systems.
| 4th | continued
| 5th | Types of fuels
10th | 1st | Thermal energy
| 2nd | Energy contents in fuel
| 3rd | Energy Units and its conversion in terms of metric tonne of oil equivalent (MTOE).
| 4th | continued
| 5th | Test of Chapter 5
11th | 1st | General Energy Saving Tips :Lighting System
| 2nd | General Energy Saving Tips :Room Air Conditioners
| 3rd | General Energy Saving Tips :Refrigerators
| 4th | General Energy Saving Tips : Water Heater, Computers
| 5th | General Energy Saving Tips : Fans, Heaters, Blowers and Washing Machines
12th | 1st | General Energy Saving Tips : Water Pumps , Kitchen and transport
| 2nd | Test of chapter 6
| 3rd | Haryana ECBC and its salient features including thermal behavior of buildings
| 4th | ECBC Guidelines on Building Envelope
| 5th | ECBC Prescriptive Requirements for Building Envelope
13th | 1st | ECBC Guidelines on Heating, Ventilation and Air Conditioning
| 2nd | ECBC Guidelines on Service Hot Water and Pumping
| 3rd | continued
14th | 1st | ECBC Guidelines on Lighting
| 2nd | continued
| 3rd | ECBC Guidelines on Electrical Power
15th | 1st | continued
| 2nd | ECBC Guidelines on Star Labelling and Minimum Star rating
| 3rd | Test of chapter 7