## Sheet1
LESSON PLAN
Name of the Faculty |  | : SH. PARDEEP KUMAR
Discipline |  | : ELECTRICAL ENGINEERING
Semester |  | : 6th
Subject |  | : POWER-II
Lesson Plan Duration |  | : 15 WEEKS(15/02/2024 to june2024)
Work Load (Lecture/ Practical) per week (in hours) |  | : Theory- 04
: Practical- 3
Week | Theory |  | Practical
| Lecture Day | Topic | Practical Day | Topic
1st | 1st | (a) Introduction to the Subject | 1st | Power point presentation for different types of Substations and the components used in the sub stations.
(b) Introduction of the nature of the examination and marks distribution of different topics
| 2nd | Common type of faults in both overhead and underground systems
| 3rd | Introduction to symmetrical/unsymmetrical faults, Single line to ground fault, double line to ground fault.
| 4th | 3-phase to ground fault open circuit, simple problems relating to fault finding.
2nd | 1st | Test Of Chapter -01 | 1st | Testing of the dielectric strength of transformer oil and air
| 2nd | (a) Introduction to the Protective Gear and its purpose (b) Different Components used at the Protective Gear and their Functions.
| 3rd | (a)Difference between switch, isolator and circuit breakers (b)Function of isolator and circuit breaker.
| 4th | (a) Making capacity and breaking capacity of circuit breaker (b) Numerical problems related to Making and Breaking capacity of a Circuit Breaker
3rd | 1st | Introduction to the methods of Arc Extinction and their Principle of working | 1st | (a) Study of different types of circuit breakers and isolators (b) Power point presentation for different types of Isolators and Circuit breakers
| 2nd | (a) Introduction to the types of Circuit breakersCircuit breakers. (b) Construction, Working, Application and Limitations of Oil circuit breaker
| 3rd | Contruction, Working and Limitations of Bulk Oil Circuit Breaker
| 4th | (a) Construction, Working and Limitations of Minimum Oil circuit breaker (b) Difference between Minimum oil circuit breaker and Bulk Oil Circuit Breaker
4th | 1st | Construction, Working, Application and Limitations of SF6 Circuit Breaker | 1st | (a)Technical Quiz for Experiment no. 01 and 02 (b) Viva Voce and Practical file Evaluation
| 2nd | Construction, Working, Application and Limitations of Air circuit breaker
| 3rd | Contruction, Working and Application of an MCB for distribution and Transmission system To give the Assignment No-01
| 4th | Contruction, Working and Application of ELCB For distribution and Transmission system
5th | 1st | Evaluation of Assignment-01 and Test of Chapter No 2 and to provide the syllabus for QUIZ NO. 01 | 1st | Plot the time current characteristics of over current relay
| 2nd | Technical Quiz No. 01
| 3rd | Fuses; function of fuse. Types of fuses, HV and LV fuses, Rewire-able Fuse
| 4th | Cartridge fuse, HRC fuse
6th | 1st | Purpose of earthing, Introduction to the methods of earthing, Methods of reducing earth resistance. | 1st | Power measurement by using CTs and PTs
| 2nd | Equipment earthing, Substation earthing, system earthing as per Indian Electricity rules
| 3rd | Introduction - types of relays
| 4th | Construction and Working of Electromagnetic relay
7th | 1st | Construction and Working of thermal relay | 1st | (a)Technical Quiz for Experiment no. 03 and 04 (b) Viva Voce and Practical file Evaluation
| 2nd | Induction type over-current, earth fault relays, instantaneous over current relay
| 3rd | Directional over-current,
| 4th | differential relays, their functions
8th | 1st | Distance relays, their functions | 1st | Earthing of different equipment/Main Distribution Board and Energy Meter Box
| 2nd | Idea of static relays and their applications
| 3rd | Test of Chapter No 03
| 4th | Relays for generator protection
9th | 1st | Relays for transformer protection | 1st | Perform the overload and short circuit test of MCB as per IS specifications
| 2nd | Buchholz relay protection for Transformer
| 3rd | Protection of feeders and bus bars: Over current Protection
| 4th | Earth Fault Protection
10th | 1st | Distance protection for transmission system | 1st | (a)Technical Quiz for Experiment no. 05 and 06 (b) Viva Voce and Practical file Evaluation
| 2nd | Relays for motor protection
| 3rd | Test Of Chapter -04 give the Assignment No 02 and Syllabus for Technical Quiz 02
| 4th | Technical Quiz No. 02
11th | 1st | Evaluation of Assignment-02 and Technical Quiz | 1st | Plot the time-current characteristics of Kit-Kat fuse wire
| 2nd | Protection of system against over voltages, causes of over voltages,
| 3rd | Utility of Ground Wire
| 4th | Lightning arrestors, rod gap, horn gap,
12th | 1st | Metal Oxide type Lightning Arrestor | 1st | Taking reading of current on any LT line with clip on meter
| 2nd | Transmission Line and substation protection against over-voltages and lightning
| 3rd | Test Of Chapter -05
| 4th | Concept of Tariffs
13th | 1st | Block rate, flat rate and related numerical Problems | 1st | (a)Technical Quiz for Experiment no. 07 and 08 (b) Viva Voce and Practical file Evaluation
| 2nd | Maximum demand and Two part tariffs and related Numerical Problems
| 3rd | Simple problems related to Tariff
| 4th | Test of Chapter No 6 Give the assignment no 03 and syllabus for Technical Quiz 03
14th | 1st | Technical Quiz No. 03 | 1st | Study of different types of Tarriffs with special reference to the Haryana state Electricity board tarriff rates
| 2nd | Evaluation of Assignment-03 and Technical Quiz 03
| 3rd | Revision unit-1
| 4th | Revision unit-2
15th | 1st | Revision unit-3 | 1st
| 2nd | Revision unit-4
| 3rd | Revision unit-5
| 4th | Revision unit-6